## Slide 1
Multisensor:Air_Outlet
Multisensor:Air_Inlet
Water_Return_Primary
Water_Return
Water_Supply
Water_Supply_Primary
actuator:Three_Way_Valve
actuator:Fan
ED & PLC

## Slide 2
Multisensor:Temperature:Air_Inlet_LCGW
Water_Supply_And_Return_Primary_LCGW:
measured_Supply_Temperature_Primary
actuator:Three_Way_Valve
actuator:Fan
LCGW
Multisensor:Humidity:Air_Inlet_LCGW
Multisensor:Temperature:Air_Outlet_LCGW
Multisensor:Humidity:Air_Outlet_LCGW
Multisensor:VOC:Air_Outlet_LCGW
Water_Supply_And_Return_Primary_LCGW:
measured_Return_Temperature_Primary
Water_Supply_And_Return_LCGW:
measured_Supply_Temperature
Water_Supply_And_Return_LCGW:
measured_Return_Temperature

## Slide 3
Air_Inlet_Temperature
Supply_Temperature_Primary
Three_Way_Valve
Fan
Variable names
Air_Inlet_Humidity
Air_Outlet_Temperature
Air_Outlet_Humidity
Air_Outlet_VOC
Return_Temperature_Primary
Supply_Temperature
Return_Temperature